## mds2-form(JP)
医療機器セキュリティのための製造業者開示説明書-MDS2
______ | ______ | ______ | ______
質問ID | 質問 |  | See note |  |  |  | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
DOC-1 | 製造業者名 | ______ | __
DOC-2 | 機器の説明 | ______ | __
DOC-3 | 機器モデル | ______ | __
DOC-4 | 文書識別コード | ______ | __
DOC-5 | 製造業者連絡先 | ______ | __
DOC-6 | ネットワーク環境での機器の用途： | ______ | __
DOC-7 | 文書公開日時 | ______ | __
DOC-8 | 脆弱性開示の協調：製造業者は本機器の脆弱性開示プログラムを有しているか? | ______ | __
DOC-9 | ISAO：製造業者は情報共有分析機関に属しているか? | ______ | __
DOC-10 | 図表：他のシステムコンポーネントまたは予想される外部リソースへの接続を示すネットワークまたはデータフロー図はあるか? | ______ | __
DOC-11 | SaMD：機器は医療機器としてのソフトウェア（すなわち、ハードウェアなしのソフトウェア）か? | ______ | __
DOC-11.1 | SaMDにはオペレーティングシステムが含まれているか? | ______ | __
DOC-11.2 | SaMDは所有者/操作者が提供するオペレーティングシステムに依存しているか? | ______ | __
DOC-11.3 | SaMDは製造業者によって運営されているか? | ______
DOC-11.4 | SaMDは顧客によって運営されているか? | ______ | __
|  | Yes, No, N/A, or See Note | Note #
| 個人識別可能情報の管理 | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
MPII-1 | この機器は、個人識別可能情報（例：保護対象電子医療情報［ePHI］）を表示、通信、保存、または修正できるか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2 | 機器は個人識別可能情報を保持しているか? | ______ | [5 empty] | AR-2 | A.15.1.4
MPII-2.1 | 機器は、個人識別可能情報を一時的に揮発性メモリに保持しているか（つまり、パワーオフ又はリセットによって消去されるまで）? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2.2 | 機器は、内部メディアに個人識別可能情報を持続的に保存しているか? | ______ | __
MPII-2.3 | 個人識別可能情報は、明示的に消去されるまで、機器の不揮発性メモリに保存されているか? | ______ | __
MPII-2.4 | 機器は、個人識別可能情報をデータベースに保存しているか? | ______ | __
MPII-2.5 | 機器の設定によって、長期ソリューションに保存された後、ローカルの個人識別可能情報を自動的に削除できるようになっているか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2.6 | 機器は、個人識別可能情報を他のシステムにインポート/エクスポートするか（例：ウェアラブルモニタリング装置は、個人識別可能情報をサーバーにエクスポートすることができる）? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2.7 | 機器は、個人識別可能情報をパワーオフまたはパワー中断中も個人を特定できる情報を保持しているか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2.8 | 機器は、サービス技術者が内部メディアを取り外すことができるようになっているか（例：個別の廃棄または顧客保持のため）? | ______ | __
MPII-2.9 | 機器は、個人を特定できる情報記録を機器操作システムとは別の場所に保管できるようになっているか（すなわち、二次内部ドライブ、代替ドライブパーティション、またはリモート保管場所）? | ______ | [5 empty] | AR-2 | A.15.1.4
MPII-3 | 機器には、個人を特定できる情報の通信、インポート/エクスポートに使用されるメカニズムがあるか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.1 | 機器は、個人識別可能情報を表示するか（例：ビデオ表示等）。 | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.2 | 機器は、個人識別可能情報を含むハードコピーのレポート又はイメージを作成するか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.3 | 機器は、個人識別可能情報をリムーバブルメディアから取得、またはリムーバブルメディアへ記録するか（例：リムーバブル-HDD、USBメモリ、DVD-R/RW、CD-R/RW、テープ、CF/SDカード、メモリスティックなど）? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.4 | 機器は、専用ケーブル接続（例：RS-232、RS-423、USB、FireWireなど）を介して個人を特定できる情報を送信/受信又はインポート/エクスポートするか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.5 | 機器は、有線ネットワーク接続（例：RJ45、光ファイバー等）を介して、個人を特定できる情報を送信/受信するか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.6 | 機器は、無線ネットワーク接続（例：WiFi、Bluetooth、NFC、赤外線、セルなど）を介して個人識別可能情報を送信/受信するか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.7 | 機器は、外部ネットワーク（例：インターネット）上で個人識別可能情報を送信/受信するか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.8 | 機器は文書のスキャンを通じて個人識別可能情報をインポートするか? | ______
MPII-3.9 | 機器は、独自のプロトコルを介して個人識別可能情報を送信/受信するか? | ______
MPII-3.10 | 機器は、個人識別可能情報を通信、インポート、またはエクスポートするために他のメカニズムを使用するか? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
個人情報の管理注記： | [7 empty] | AR-2 | A.15.1.4
| 自動ログオフ（ALOF） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
一定時間操作しない場合に、許可されていないユーザーの使用や誤用を遪けるための機器の機能。
ALOF-1 | 操作していない時間があらかじめ決めた一定の長さを超えると、ログインしているユーザーの再認証を強制するように機器を設定できるか（例：自動ログオフ、セッションロック、パスワードで保護されたスクリーンセーバ）？ | ______ | __ |  |  |  | ALOF セクション5.1 | AC-12 | なし
ALOF-2 | 自動ログオフ/スクリーンロックが実行されるまでの操作しない状態の経過時間は、ユーザー又は管理者が設定できるか? | ______ | __ |  |  |  | ALOF セクション5.1 | AC-11 | A.11.2.8, A.11.2.9
| 監査コントロール（AUDT） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
機器上の活動を確実に監査する機能。
AUDT-1 | 医療機器は、標準的なオペレーティングシステムログ以外に追加の監査ログや監査レポートを作成することができるか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-1 | A.5.1.1, A.5.1.2, A.6.1.1, A.12.1.1, A.18.1.1, A.18.2.2
AUDT-1.1 | 監査ログにユーザーIDが記録されているか? | ______ | __
AUDT-1.2 | その他の個人識別可能情報は監査証跡に存在するか? | [5 empty] | AUDT セクション5.2 | AU-2 | なし
AUDT-2 | イベントは監査ログに記録されているか? 「Yes」の場合、次のイベントのうち、監査ログに記録されるイベントはどれか： | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.1 | ログイン/ログアウトの試みに成功したか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.2 | ログイン/ログアウトの試みに失敗したか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.3 | ユーザー権限の変更? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.4 | ユーザーの作成/変更/削除 | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.5 | 臨床データまたはPIIデータの提示（例：表示、印刷）? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.6 | データの作成/変更/削除 | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.7 | リムーバブルメディア（例：USBドライブ、外部ハードドライブ、DVD）からデータをインポート/エクスポートするか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.8 | ネットワークまたはポイント・ツー・ポイント接続を介したデータまたはコマンドの受信/送信? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.8.1 | リモートまたはオンサイトのサポート? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.8.2 | アプリケーションプログラミングインターフェース（API）および同様の活動? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.9 | 緊急アクセス? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.10 | その他のイベント（例：ソフトウェアの更新）? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-2.11 | 監査能力をより詳細に文書化しているか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-3 | 所有者/操作者は、監査ログにどのイベントを記録するか定義または選択できるか? | ______ |  |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-4 | イベントの監査ログに記録されたデータ属性のリストはあるか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-4.1 | 監査ログは日付/時刻を記録しているか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-4.1.1 | 日時はネットワーク時刻プロトコル（NTP）または同等の時刻ソースによって同期できるか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-5 | 監査ログの内容をエクスポートできるか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-5.1 | 物理的メディアによるものか? | ______ | __
AUDT-5.2 | IHE監査証跡及びノード認証（ATNA）プロファイルを経由してSIEMへ? | ______ | __
AUDT-5.3 | 他のコミュニケーション（例：外部サービス機器、モバイルアプリケーション）によるものか? | ______ | __
AUDT-5.4 | 監査ログは、転送中または記憶メディア上で暗号化されるか? | ______ | __
AUDT-6 | 監査ログは所有者/操作者が監視/レビューできるか? | ______ | __
AUDT-7 | 監査ログは変更から保護されているか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
AUDT-7.1 | 監査ログはアクセスから保護されているか? | ______
AUDT-8 | 監査ログは機器によって分析できるか? | ______ | __ |  |  |  | AUDT セクション5.2 | AU-2 | なし
| 認証（AUTH） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
許可されているユーザーかどうかを判断する機器の機能
AUTH-1 | 機器はユーザーログイン要件又はその他のメカニズムを使って許可されていないユーザーのアクセスを禁止できるか？ | ______ | __ |  |  |  | AUTH セクション5.3 | IA-2 | A.9.2.1
AUTH-1.1 | 機器は、権限付与のためにユーザー認証連携マネジメントを使用するように構成できるか（例：LDAP、OAuth）? | ______ | __ |  |  |  | AUTH セクション5.3 | IA-2 | A.9.2.1
AUTH-1.2 | 顧客はグループ方針を機器にプッシュすることができるか（例：アクティブディレクトリ）? | ______ | __ |  |  |  | AUTH セクション5.3 | IA-2 | A.9.2.1
AUTH-1.3 | 特別なグループ、組織単位、グループ方針が必要か? | ______ | __ |  |  |  | AUTH セクション5.3 | IA-2 | A.9.2.1
AUTH-2 | ユーザーは、「役割 」（例：ユーザー、管理者、サービス等）に基づき、異なる権限レベルを割り当てることができるか? | ______ | __ |  |  |  | AUTH セクション5.3 | IA-2 | A.9.2.1
AUTH-3 | 機器の所有者/操作者は制限のない管理者権限を取得できるか（例：ローカルルート又は管理者アカウントによるオペレーティングシステム又はアプリケーションへのアクセス）？ | ______ | __ |  |  |  | AUTH セクション5.3 | IA-2 | A.9.2.1
AUTH-4 | 機器は、すべてのAPIアクセス要求を認証または制御しているか? | ______ | __ |  |  |  | AUTH セクション5.3 | IA-2 | A.9.2.1
AUTH-5 | 機器は、デフォルトとして、アクセス制限モードあるいはkioskモード動作するか? | ______ | __
| サイバーセキュリティ製品のアップグレード（CSUP） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
機器のセキュリティパッチをインストール/アップグレードできるオンサイトのサービス要員、リモートサービス要員、または許可されている顧客要員の能力。
CSUP-1 | 機器には、機器の製造業者またはソフトウェア/ファームウェアの第三者製造業者のいずれかから、動作寿命中にセキュリティの更新を必要とする可能性のあるソフトウェアまたはファームウェアが含まれているか? 「No」の場合、このセクションの質問に「N/A」と回答する。 | ______ | __
CSUP-2 | 機器にはオペレーティングシステムが含まれているか? 「Yes」 の場合、2.1～2.4を記入する。 | ______ | __
CSUP-2.1 | 機器の文書には、所有者/操作者によるパッチのインストールまたはソフトウェアの更新に関する指示が記載されているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-2.2 | 機器は、パッチまたはソフトウェアの更新をインストールするためにベンダーまたはベンダーが承認したサービスを必要とするか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-2.3 | 機器には、パッチのリモートインストールまたはソフトウェアの更新を受ける機能があるか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-2.4 | 医療機器の製造者は、製造業者の承認なしに、第三者製造業者（例：Microsoft）からのセキュリティ更新をインストールすることを許可しているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-3 | 機器にはドライバーとファームウェアが含まれているか?「はい」 の場合、3.1～3.4を記入する。 | ______ | __ | Y/N | Y/N | Y/N
CSUP-3.1 | 機器の文書には、所有者/操作者によるパッチのインストールまたはソフトウェアの更新に関する指示が記載されているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-3.2 | 機器は、パッチまたはソフトウェアの更新をインストールするためにベンダーまたはベンダーが承認したサービスを必要とするか? | ______ | __
CSUP-3.3 | 機器には、パッチのリモートインストールまたはソフトウェアの更新を受ける機能があるか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-3.4 | 医療機器の製造業者は、製造業者の承認なしに、第三者製造業者（例：Microsoft）からのセキュリティ更新をインストールすることを許可しているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-4 | 機器にはマルウェア対策ソフトウェアが含まれているか? 「Yes」 の場合、4.1～4.4を記入する。 | ______ | __ | Y/N | Y/N | Y/N
CSUP-4.1 | 機器の文書には、所有者/操作者によるパッチのインストールまたはソフトウェアの更新に関する指示が記載されているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-4.2 | 機器は、パッチまたはソフトウェアの更新をインストールするためにベンダーまたはベンダーが承認したサービスを必要とするか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-4.3 | 機器には、パッチのリモートインストールまたはソフトウェアの更新を受ける機能があるか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-4.4 | 医療機器の製造業者は、製造業者の承認なしに、第三者製造業者（例：Microsoft）からのセキュリティ更新をインストールすることを許可しているか? | ______ | __
CSUP-5 | 機器には非オペレーティングシステムの市販コンポーネントが含まれているか? 「Yes」 の場合、5.1～5.4を記入する。 | ______ | __ | Y/N | Y/N | Y/N
CSUP-5.1 | 機器の文書には、所有者/操作者によるパッチのインストールまたはソフトウェアの更新に関する指示が記載されているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-5.2 | 機器は、パッチまたはソフトウェアの更新をインストールするためにベンダーまたはベンダーが承認したサービスを必要とするか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-5.3 | 機器には、パッチのリモートインストールまたはソフトウェアの更新を受ける機能があるか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-5.4 | 医療機器の製造業者は、製造業者の承認なしに、第三者製造業者（例：Microsoft）からのセキュリティ更新をインストールすることを許可しているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-6 | 機器には他のソフトウェアコンポーネント（例：資産管理ソフト、ライセンス管理)が含まれているか? 「Yes」 の場合、詳細または参照先を「Note」に記載し、6.1～6.4を記入する。 | ______ | __ | Y/N | Y/N | Y/N
CSUP-6.1 | 機器の文書には、所有者/操作者によるパッチのインストールまたはソフトウェアの更新に関する指示が記載されているか? | ______ | __
CSUP-6.2 | 機器は、パッチまたはソフトウェアの更新をインストールするためにベンダーまたはベンダーが承認したサービスを必要とするか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-6.3 | 機器には、パッチのリモートインストールまたはソフトウェアの更新を受ける機能があるか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-6.4 | 医療機器の製造業者は、製造業者の承認なしに、第三者製造業者（例：Microsoft）からのセキュリティ更新をインストールすることを許可しているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-7 | 製造業者は、更新がインストールするための更新が承認された時点で顧客に通知しているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-8 | 機器はソフトウェア更新の自動インストールを実行するか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-9 | 製造業者は、機器にインストールできる第三者ソフトウェアの承認済みリストを有しているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-10 | 所有者/操作者は、製造業者が承認した第三者ソフトウェアを機器自体にインストールできるか? | ______ | __
CSUP-10.1 | システムには、未承認ソフトウェアのインストールを防止するためのメカニズムがあるか? | ______ | __
CSUP-11 | 製造業者は、機器の脆弱性と更新を評価するためのプロセスを整備しているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-11.1 | 製造業者は、更新のレビューおよび承認状況を顧客に提供しているか? | ______ | __ | Y/N | Y/N | Y/N
CSUP-11.2 | 機器の更新レビューサイクルはあるか? | ______ | __ | Y/N | Y/N | Y/N
|  |  |  | Device Software | Device Firmware | Security Addons
| 健康データの非識別化（DIDT） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
患者の識別を可能にする情報を直接削除する機器の機能。
DIDT-1 | 機器は、個人識別可能情報を非識別化するために不可欠な機能を提供しているか? | ______ | __ |  |  |  | DIDT セクション5.6 | なし | ISO 27038
DIDT-1.1 | 機器は、非識別化のためのDICOM規格に適合する非識別化ファイルをサポートしているか? | ______ | __ |  |  |  | DIDT セクション5.6 | なし | ISO 27038
| データのバックアップと災害復旧（DTBK） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
機器のデータ、ハードウェア、ソフトウェアまたはサイト設定情報の損傷や破壊後に復旧できる機能。
DTBK-1 | 機器は、個人識別可能情報/患者情報（例：PACS）の長期一次保管を保持しているか? | ______ | __
DTBK-2 | 機器には、製造業者が提供する元の機器設定を復元するための「工場出荷時リセット」機能があるか? | ______ | __ |  |  |  | DTBK セクション5.7 | CP-9 | A.12.3.1
DTBK-3 | 機器はリムーバブルメディアに不可欠なデータバックアップ機能を備えているか? | ______ | __ |  |  |  | DTBK セクション5.7 | CP-9 | A.12.3.1
DTBK-4 | 機器には、リモート保存に不可欠なデータのバックアップ機能があるか? | ______
DTBK-5 | 機器には、システム設定情報、パッチ修復、ソフトウェア修復のバックアップ機能があるか? | ______
DTBK-6 | 機器はバックアップの完全性と信頼性をチェックする機能を提供するか? | ______ | __ |  |  |  | DTBK セクション5.7 | CP-9 | A.12.3.1
| 緊急アクセス（EMRG） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
医療上の緊急事態が発生し、保管されている個人識別可能情報への即時アクセスを必要とする場合、機器ユーザーが個人識別可能情報にアクセスできる機能。
EMRG-1 | 機器には緊急アクセス（「ブレイクグラス」）機能が組み込まれているか？ | ______ | __ |  |  |  | EMRG セクション5.8 | SI-17 | なし
| 健康データの完全性と信頼性（IGAU） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
機器が完全性を検証し、真正性を検証し、機器に保存された健康データが利用可能であることを保証する方法。
IGAU-1 | 機器は、保存された健康データのデータ完全性チェックメカニズムを提供するか（例：ハッシュまたはデジタル署名）? | ______ | __ |  |  |  | IGAU セクション5.9 | SC-28 | A.18.1.3
IGAU-2 | 機器は、保存されている健康データのエラー/故障の保護および復旧メカニズム（例：RAID-5）を提供するか? | ______ | __ |  |  |  | IGAU セクション5.9 | SC-28 | A.18.1.3
| マルウェアの検出/保護（MLDP） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
悪意のあるソフトウェア（マルウェア）を効果的に防御、検出、及び削除する機器の機能。
MLDP-1 | 実行可能なソフトウェアをホストできるか? | ______ | __ |  |  |  | MLDP セクション5.10
MLDP-2 | 機器はマルウェア対策ソフトウェア（またはその他のマルウェア対策メカニズム）の使用をサポートしているか？詳細または参照先を「Note」に記載する。 | ______ | __ |  |  |  | MLDP セクション5.10 | SI-3 | A.12.2.1
MLDP-2.1 | 機器にはデフォルトでマルウェア対策ソフトウェアが含まれているか? | ______ | __ |  |  |  | MLDP セクション5.10 | CM-5 | A.9.2.3, A.9.4.5, A.12.1.2, A.12.1.4, A.12.5.1
MLDP-2.2 | 機器にはオプションとしてマルウェア対策ソフトウェアがあるか? | ______ | __ |  |  |  | MLDP セクション5.10 | AU-6 | A.12.4.1, A.16.1.2, A.16.1.4
MLDP-2.3 | 機器の文書化により、所有者/操作者はマルウェア対策ソフトウェアをインストールまたは更新することができるようになっているか? | ______ | __ |  |  |  | MLDP セクション5.10 | CP-10 | A.17.1.2
MLDP-2.4 | 機器の所有者/操作者は、マルウェア対策の設定を独立して（再-）設定できるか? | ______ | __ |  |  |  | MLDP セクション5.10 | AU-2 | なし
MLDP-2.5 | マルウェア検出の通知が機器のユーザーインターフェイスで生じるか？ | ______
MLDP-2.6 | マルウェアが検出された場合は、製造業者が許可した人のみがシステムを修理できるか？ | ______
MLDP-2.7 | マルウェア通知はログに書き込まれているか? | ______
MLDP-2.8 | マルウェア対策（例：購入、設置、設定、スケジューリング）に関する制限はあるか? | ______
MLDP-3 | MLDP-2への回答が「No」 であり、マルウェア対策が機器にインストールできない場合、他の補完的管理策が整備されているか、利用可能か? | ______ | __ |  |  |  | MLDP セクション5.10 | SI-2 | A.12.6.1, A.14.2.2, A.14.2.3, A.16.1.3
MLDP-4 | 機器は、機器上での実行が許可されているソフトウェアおよびサービスを制限するアプリケーションのホワイトリストを使用しているか? | ______ | __ |  |  |  | MLDP セクション5.10 | SI-3 | A.12.2.1
MLDP-5 | 機器はホストベースの侵入検知/予防システムを採用しているか? | ______ | __ |  |  |  | MLDP セクション5.10 | SI-4 | なし
MLDP-5.1 | ホストベースの侵入検知/予防システムを顧客が設定できるか? | ______ | __ |  |  |  | MLDP セクション5.10 | CM-7 | A.12.5.1
MLDP-5.2 | ホストベースの侵入検知/予防システムを顧客がインストールできるか? | ______ | __ |  |  |  | MLDP セクション5.10
| ノードの認証（NAUT） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
通信パートナー/ノードを認証する機器の機能。
NAUT-1 | 機器は、データの送信側と受信側の両方が相互に認識しており、転送される情報の受け取りが許可されていることを保証するノード認証の方法を提供/サポートしているか（例：ウエブAPIs、SMTP、SNMP）？ | ______ | __ |  |  |  | NAUT セクション5.11 | SC-23 | なし
NAUT-2 | ネットワークアクセス制御機構はサポートされているか（例：機器に内部ファイアウォールがあるか、ネットワーク接続ホワイトリストを使用しているか）? | ______ | __ |  |  |  | NAUT セクション5.11 | SC-7 | A.13.1.1, A.13.1.3, A.13.2.1, A.14.1.3
NAUT-2.1 | ファイアウォールのルールが文書化され、レビューに利用できるか? | ______ | __
NAUT-3 | 認証ベースのネットワーク接続認証を使用しているか? | ______ | __
| 接続能力（CONN） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
適切なセキュリティマネジメントを決定する際には、すべてのネットワークおよびリムーバブルメディア接続を検討する必要がある。このセクションでは、機器に存在する可能性のある接続機能を列記する。
CONN-1 | 機器にはハードウェア接続機能があるか? | ______ | __
CONN-1.1 | 機器は無線接続をサポートしているか? | ______ | __
CONN-1.1.1 | 機器はWi-Fiをサポートしているか? | ______ | __
CONN-1.1.2 | 機器はBluetoothをサポートしているか? | ______ | __
CONN-1.1.3 | 機器は他の無線ネットワーク接続（例：LTE、Zigbee、プロプラエタリ）をサポートしているか? | ______ | __
CONN-1.1.4 | 機器は他の無線接続（例：カスタムRFコントロール、無線検出器）をサポートしているか? | ______ | __
CONN-1.2 | 機器は物理的接続をサポートしているか? | ______ | __
CONN-1.2.1 | 機器にはRJ45イーサネットポートがあるか? | ______ | __
CONN-1.2.2 | 機器には利用可能なUSBポートがあるか? | ______ | __
CONN-1.2.3 | 機器はリムーバブルなメモリデバイスを必要とするか、使用するか、サポートしているか? | ______ | __
CONN-1.2.4 | 機器は他の物理的接続をサポートしているか? | ______ | __
CONN-2 | 製造業者は、機器に使用される、又は使用される可能性のあるネットワークポート及びプロトコルのリストを提供しているか? | ______ | __
CONN-3 | 機器は顧客環境内の他のシステムと通信できるか? | ______ | __
CONN-4 | 機器は、顧客環境以外の他のシステム（例：サービスホスト）と通信できるか? | ______ | __
CONN-5 | 機器はAPIコールを作成または受信するか? | ______ | __
CONN-6 | 機器は、その使用目的のためにインターネット接続を必要とするか? | ______ | __
CONN-7 | 機器はトランスポート層セキュリティ（TLS）をサポートしているか? | ______ | __
CONN-7.1 | TLSは設定可能か?
CONN-8 | 機器は、別の機器（例：遠隔医療等）から操作者制御機能を提供するか? | ______ | __
| 個人の認証（PAUT） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
ユーザーを認証するために機器を設定する機能。
PAUT-1 | 機器は、すべてのユーザーおよび役割（サービスアカウントを含む）に固有のIDおよびパスワードをサポートし、実施しているか? | ______ | __ |  |  |  | PAUT セクション5.12 | IA-2 | A.9.2.1
PAUT-1.1 | 機器は、すべてのユーザー及び役割（サービスアカウントを含む）に対して固有のID及びパスワードの認証を行っているか? | ______ | __ |  |  |  | PAUT セクション5.12 | IA-2 | A.9.2.1
PAUT-2 | 機器は外部認証サービスを通してユーザーを認証するように設定できるか（例：MS アクティブディレクトリ、NDS、LDAP、OAuthなど）？ | ______ | __ |  |  |  | PAUT セクション5.12 | IA-5 | A.9.2.1
PAUT-3 | 一定回数ログオンに失敗した後ユーザをロックアウトするように機器を設定できるか？ | ______ | __ |  |  |  | PAUT セクション5.12 | IA-2 | A.9.2.1
PAUT-4 | すべてのデフォルトアカウント（例：技術者サービスアカウント、管理者アカウント）が文書に記載されているか? | ______ | __ |  |  |  | PAUT セクション5.12 | SA-4(5) | A.14.1.1, A.14.2.7, A.14.2.9, A.15.1.2
PAUT-5 | すべてのパスワードを変更できるか? | ______ | __ |  |  |  | PAUT セクション5.12
PAUT-6 | 確立されている（組織固有の）複雑なルールを満たすユーザーアカウントのパスワードを強制的に作成するように機器を設定できるか？ | ______ | __ |  |  |  | PAUT セクション5.12 | IA-2 | A.9.2.1
PAUT-7 | 機器は定期的に期限切れとなるアカウントパスワードをサポートしているか? | ______ | __
PAUT-8 | 多要素認証をサポートしているか? | ______ | __
PAUT-9 | 機器はシングルサインオン（SSO）をサポートしているか? | ______ | __ |  |  |  | PAUT セクション5.12 | IA-2 | A.9.2.1
PAUT-10 | 機器上でユーザーアカウントを無効化/ロックできるか? | ______ | __ |  |  |  | PAUT セクション5.12 | IA-2 | A.9.2.1
PAUT-11 | 機器は生体認証をサポートしているか? | ______ | __ |  |  |  | PAUT セクション5.12 | IA-2 | A.9.2.1
PAUT-12 | 機器は物理的なトークン（例：バッジアクセス）をサポートしているか? | ______ | __
PAUT-13 | 機器はグループ認証（例：病院チーム）をサポートしているか? | ______ | __
PAUT-14 | アプリケーションまたは機器は、認証クレデンシャルを保存または管理しているか? | ______ | __
PAUT-14.1 | クレデンシャルはセキュアな方法で保管されているか? | ______ | __
| 物理的ロック（PLOK） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
物理的ロックでは、物理的にアクセスできる許可されていないユーザーが機器やリムーバブルなメディアに保存されている個人識別可能情報の完全性や真正性を損なうのを阻止できる。
PLOK-1 | 機器はソフトウェアのみ? 「Yes」の場合、このセクションの残りの質問に「N/A」と回答してください。 | ______ | __ |  |  |  | PLOK セクション5.13 | PE-3 (4) | A.11.1.1, A.11.1.2, A.11.1.3
PLOK-2 | 個人識別可能情報を保持している機器のすべてのコンポーネント（リムーバブルメディア以外）は物理的に安全か（つまり、ツールなしでは取り外せない）？ | ______ | __ |  |  |  | PLOK セクション5.13 | PE-3 (4) | A.11.1.1, A.11.1.2, A.11.1.3
PLOK-3 | 個人識別可能情報（リムーバブルメディア以外）を保持するすべての機器コンポーネントは、個別に鍵をかけたロック機器の背後に物理的に固定されているか? | ______ | __ |  |  |  | PLOK セクション5.13 | PE-3 (4) | A.11.1.1, A.11.1.2, A.11.1.3
PLOK-4 | 機器には、取り外し可能なメディアへのアクセスを制限する物理的ロックを取り付けるオプションが顧客向けにあるか? | ______ | __ |  |  |  | PLOK セクション5.13 | PE-3 (4) | A.11.1.1, A.11.1.2, A.11.1.3
| 機器のライフサイクルにおける第三者アプリケーションおよびソコンポーネントのロードマップ（RDMP） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
機器のライフサイクル内において第三者アプリケーションおよびソフトウェアコンポーネントのセキュリティサポートに関する製造者の計画。
RDMP-1 | 製品開発中に、ISO/IEC27034やIEC62304などの安全なソフトウェア開発プロセスに従ったか? | ______ | __ |  |  |  | RDMP セクション5.14 | CM-2 | なし
RDMP-2 | 製造業者は、セキュアな開発業務のために、機器に含まれるサードパーティーアプリケーションおよびソフトウェアコンポーネントを評価しているか? | ______ | __ |  |  |  | RDMP セクション5.14 | CM-8 | A.8.1.1, A.8.1.2
RDMP-3 | 製造業者は、ソフトウェアサポートの日付及び更新に関するウェブページ又はその他の情報源を維持し更新しているか? | ______ | __ |  |  |  | RDMP セクション5.14 | CM-8 | A.8.1.1, A.8.1.2
RDMP-4 | 製造者は、サードパーティーコンポーネントの耐用年数終了(EOL)を管理するための計画を有しているか? | ______ | __ |  |  |  | RDMP セクション5.14 | CM-8 | A.8.1.1, A.8.1.2
| ソフトウェア部品表（SBoM） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
ソフトウェア部品表（SBoM）には、機器に組み込まれるすべてのソフトウェアコンポーネントの一覧で、医療提供者による運用上のセキュリティを計画する目的のために記載する。このセクションは、RDMPセクションの管理をサポートする。
SBOM-1 | 本製品のSBoMはあるか? | ______ | __
SBOM-2 | SBoMは、ソフトウェアコンポーネントの説明において標準または共通の方法に従っているか? | ______ | __
SBOM-2.1 | ソフトウェアコンポーネントは特定されているか? | ______ | __
SBOM-2.2 | ソフトウェアコンポーネントの開発者/製造業者を特定しているか? | ______ | __
SBOM-2.3 | ソフトウェアコンポーネントのメジャーバージョン番号が特定されているか? | ______ | __
SBOM-2.4 | その他の記述的要素が特定されているか? | ______ | __
SBOM-3 | 機器には、機器にインストールされたソフトウェアコンポーネントのリストを作成するために利用可能なコマンドまたはプロセス方法が含まれているか? | ______ | __
SBOM-4 | SBoMの更新プロセスはあるか? | ______ | __
| システムとアプリケーションの堅牢化（SAHD） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
| 機器は、サイバー攻撃やマルウェアに強いものである。 | [6 empty] | CM-7 | A.12.5.1*
SAHD-1 | 機器は業界基準に従って堅牢化しているか? | ______ | __ |  |  |  | SAHD セクション5.15 | AC-17 (2)/IA-3 | A.6.2.1, A.6.2.2, A.13.1.1, A.13.2.1, A.14.1.2/なし
SAHD-2 | 機器はサイバーセキュリティの認証を受けているか? | ______ | __ |  |  |  | SAHD セクション5.15 | SA-12(10) | A.14.2.7, A.15.1.1, A.15.1.2, A.15.1.3
SAHD-3 | 機器はソフトウェアの完全性チェックに何らかのメカニズムを使用しているか? | ______ | __
SAHD-3.1 | 機器は、インストールされたソフトウェアが製造業者によって認可されていることを確認するための何らかのメカニズム（例：リリース固有のハッシュキー、チェックサム、デジタル署名など）を使用しているか? | ______ | __
SAHD-3.2 | 機器は、ソフトウエア更新が製造業者が許可した更新であることを確認するための何らかのメカニズム（例：リリースごとのハッシュキー、チェックサムなど）を使用しているか? | ______ | __ |  |  |  | SAHD セクション5.15 | CM-8 | A.8.1.1, A.8.1.2
SAHD-4 | 所有者/操作者はソフトウェアの完全性チェック（すなわち、システムが変更または改ざんされていないことを確認する）を実施できるか? | ______ | __ |  |  |  | SAHD セクション5.15 | AC-3 | A.6.2.2, A.9.1.2, A.9.4.1, A.9.4.4, A.9.4.5, A.13.1.1, A.14.1.2, A.14.1.3, A.18.1.3
SAHD-5 | システムは、ファイルレベル、患者レベル、またはその他のタイプのアクセス制御を実行できるように設定できるか? | ______ | __ |  |  |  | SAHD セクション5.15 | CM-7 | A.12.5.1*
SAHD-5.1 | 機器は、役割ベースのアクセス制御を提供しているか? | ______ | __ |  |  |  | SAHD セクション5.15 | CM-7 | A.12.5.1*
SAHD-6 | 製造業者は、システム納入時にシステムまたはユーザアカウントを制限または無効化しているか? | ______ | __ |  |  |  | SAHD セクション5.15 | CM-8 | A.8.1.1, A.8.1.2
SAHD-6.1 | 初期設定後、エンドユーザが設定可能なシステムまたはユーザアカウントはあるか? | ______ | __ |  |  |  | SAHD セクション5.15 | CM-7 | A.12.5.1*
SAHD-6.2 | これには、サービス技術者などの特定のシステムまたはユーザアカウントを最小特権アクセスに制限することが含まれるか? | ______ | __ |  |  |  | SAHD セクション5.15 | CM-7 | A.12.5.1*
SAHD-7 | 機器の用途に必要のないすべての共有リソース（例：ファイル共有）は、無効になっているか？ | ______ | __ |  |  |  | SAHD セクション5.15 | CM-7 | A.12.5.1*
SAHD-8 | 機器の用途に必要のないすべての通信ポート及びプロトコールは無効になっているか？ | ______ | __ |  |  |  | SAHD セクション5.15 | SA-18 | なし
SAHD-9 | 機器の用途に必要のないすべてのサービス（例：Telnet、ファイル転送プロトコル（FTP）、Internet Information Server（IIS）など）は削除/無効にされているか？ | ______ | __ |  |  |  | SAHD セクション5.15 | CM-6 | なし
SAHD-10 | 機器の用途に必要のないすべてのアプリケーション（COTSアプリケーション及びOS付属のアプリケーション、例えばMS Internet Explorerなど）は削除/無効にされているか？ | ______ | __ |  |  |  | SAHD セクション5.15 | SI-2 | A.12.6.1, A.14.2.2, A.14.2.3, A.16.1.3
SAHD-11 | 機器は管理されていない、またはリムーバブルメディア（つまり、内蔵ドライブやメモリコンポーネント以外のソース）から起動できないようになっているか？ | ______ | __
SAHD-12 | 物理的ツールを使用せずに、許可されていないソフトウェアやハードウェアを機器にインストールすることはできるか? | ______ | __
SAHD-13 | 製品文書には、ユーザーによる運用ネットワークセキュリティスキャンに関する情報が含まれているか? | ______ | __
SAHD-14 | 機器は基本設定の状態を超えて堅牢化できるか? | ______ | __
SAHD-14.1 | 堅牢化を強化するためのベンダー指示があるか? | ______
SCAD-15 | システムは起動中にBIOSまたは他のブートローダへのアクセスを防止できるか? | ______
SAHD-16 | 機器の堅牢化に用いられる2.3.19に含まれていない追加の堅牢化方法を持っているか? | ______ | __
| セキュリティガイダンス（SGUD） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
機器の操作者と管理者、及び製造業者の販売とサービスに関するセキュリティガイダンスの有無。
SGUD-1 | 機器には所有者/操作者用のセキュリティ文書が含まれているか? | ______ | __ |  |  |  | SGUD セクション5.16 | AT-2/PL-2 | A.7.2.2, A.12.2.1/A.14.1.1
SGUD-2 | 機器は、機器又はメディアからデータを永続的に削除する機能を有し、その説明を提供するか? | ______ | __ |  |  |  | SGUD セクション5.16 | MP-6 | A.8.2.3, A.8.3.1, A.8.3.2, A.11.2.7
SGUD-3 | すべてのアクセスアカウントを文書化しているか? | ______ | __ |  |  |  | SGUD セクション5.16 | AC-6,IA-2 | A.9.1.2, A.9.2.3, A.9.4.4, A.9.4.5/A.9.2.1
SGUD-3.1 | 所有者/操作者はすべてのアカウントのパスワード管理を実施できるか? | ______ | __
SGUD-4 | 製品には、機器に推奨される補完的管理策に関する文書が含まれているか? | ______ | __
| 健康データストレージの機密性（STCF） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
許可されていないアクセスにより、機器またはリムーバブルメディアに保存されている個人識別可能情報の完全性と機密性が損なわれないようにする機器の機能。
STCF-1 | 機器は保存されているにデータを暗号化できるか？ | ______ | __ |  |  |  | STCF セクション5.17 | SC-28 | A.8.2.3
STCF-1.1 | すべてのデータは暗号化、またはその他の方法で保護されているか? | ______
STCF-1.2 | データ暗号化機能はデフォルトで設定されているか? | ______
STCF-1.3 | 暗号化を設定するための説明は顧客に提供されているか? | ______
STCF-2 | 暗号化キーを変更または設定できるか? | ______ | __ |  |  |  | STCF セクション5.17 | SC-28 | A.8.2.3
STCF-3 | データは機器にあるデータベースに保存されているか? | ______ | __
STCF-4 | データは機器外部のデータベースに保存されているか? | ______ | __
| 通信の機密性（TXCF） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
通信された個人を特定できる情報の機密性を保証する機器の機能。
TXCF-1 | 個人識別可能情報は、ポイント・ツー・ポイント専用ケーブルでのみ通信できるか? | ______ | __ |  |  |  | TXCF セクション5.18 | CM-7 | A.12.5.1
TXCF-2 | ネットワークまたはリムーバブルメディアを介して伝送する前に、個人識別可能情報を暗号化しているか? | ______ | __ |  |  |  | TXCF セクション5.18 | CM-7 | A.12.5.1
TXCF-2.1 | データがデフォルトで暗号化されていない場合、顧客は暗号化オプションを設定できるか? | ______ | __
TXCF-3 | 個人識別可能情報伝達は、ネットワーク通信先の固定リストに限定されているか? | ______ | __ |  |  |  | TXCF セクション5.18 | CM-7 | A.12.5.1
TXCF-4 | 接続は認証されたシステムに限定されているか? | ______ | __ |  |  |  | TXCF セクション5.18 | CM-7 | A.12.5.1
TXCF-5 | 安全な通信方法がサポート/実施されているか（DICOM、HL7、IEEE11073）? | ______ | __
| 通信の完全性（TXIG） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
通信する個人識別可能情報の完全性を保証する機器の機能。
TXIG-1 | 機器は通信中にデータが変更されないようにする目的で何らかのメカニズム（例：デジタル署名）をサポートしているか？ | ______ | __ |  |  |  | TXIG セクション5.19 | SC-8 | A.8.2.3, A.13.1.1, A.13.2.1, A.13.2.3, A.14.1.2, A.14.1.3
TXIG-2 | 機器には、外部ケーブルで接続された複数のサブコンポーネントが含まれているか? | ______ | __
| リモートサービス（RMOT） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
リモートサービスとは、機器の保守活動をサービス要員がネットワーク又は他のリモート接続を介して行うことをいう。
RMOT-1 | 機器は、機器の分析または修理のためのリモートサービス接続を許可するか? | ______ | __ |  |  |  |  | AC-17 | A.6.2.1, A.6.2.2, A.13.1.1, A.13.2.1, A.14.1.2
RMOT-1.1 | 機器は、所有者/操作者が機器の分析や修理のためのリモートサービスセッションを主導できるようにしているか? | ______ | __
RMOT-1.2 | リモートセッションが有効、アクティブであるインジケータはあるか? | ______ | __
RMOT-1.3 | リモートセッション中に患者データに機器からアクセスまたは閲覧することができるか? | ______ | __ |  |  |  |  | AC-17 | A.6.2.1, A.6.2.2, A.13.1.1, A.13.2.1, A.14.1.2
RMOT-2 | 機器は、予測メンテナンスデータのためにリモートサービス接続を許可または使用するか? | ______ | __
RMOT-3 | 機器には、リモートアクセス可能なその他の機能（例：ソフトウェアの更新、リモートトレーニング）があるか? | ______ | __
| 他のセキュリティ考察（OTHR） | [5 empty] | IEC TR80001-2-2:2012 | NIST SP 800-53改訂4版 | ISO27002:2013
なし
Notes:
Note 1 | Note 例1つのセルに個別の注記を残すこと。異なる情報については、別のNoteを使用すること。

## mds2-form
Manufacturer Disclosure Statement for Medical Device Security -- MDS2
______ | ______ | ______ | ______
Question ID | Question |  | See note |  |  |  | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
DOC-1 | Manufacturer Name | ______ | __
DOC-2 | Device Description | ______ | __
DOC-3 | Device Model | ______ | __
DOC-4 | Document ID | ______ | __
DOC-5 | Manufacturer Contact Information | ______ | __
DOC-6 | Intended use of device in network-connected environment: | ______ | __
DOC-7 | Document Release Date | ______ | __
DOC-8 | Coordinated Vulnerability Disclosure: Does the manufacturer have a vulnerability disclosure program for this device? | ______ | __
DOC-9 | ISAO: Is the manufacturer part of an Information Sharing and Analysis Organization? | ______ | __
DOC-10 | Diagram: Is a network or data flow diagram available that indicates connections to other system components or expected external resources? |  | __
DOC-11 | SaMD: Is the device Software as a Medical Device (i.e. software-only, no hardware)? | ______ | __
DOC-11.1 | Does the SaMD contain an operating system? | ______ | __
DOC-11.2 | Does the SaMD rely on an owner/operator provided operating system? | ______ | __
DOC-11.3 | Is the SaMD hosted by the manufacturer? | ______
DOC-11.4 | Is the SaMD hosted by the customer? | ______ | __
|  | Yes, No, N/A, or See Note | Note #
| MANAGEMENT OF PERSONALLY IDENTIFIABLE INFORMATION | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
MPII-1 | Can this device display, transmit, store, or modify personally identifiable information (e.g. electronic Protected Health Information (ePHI))? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2 | Does the device maintain personally identifiable information? | ______ | [5 empty] | AR-2 | A.15.1.4
MPII-2.1 | Does the device maintain personally identifiable information temporarily in volatile memory (i.e., until cleared by power-off or reset)? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2.2 | Does the device store personally identifiable information persistently on internal media? | ______ | __
MPII-2.3 | Is personally identifiable information preserved in the device’s non-volatile memory until explicitly erased? | ______ | __
MPII-2.4 | Does the device store personally identifiable information in a database? | ______ | __
MPII-2.5 | Does the device allow configuration to automatically delete local personally identifiable information after it is stored to a long term solution? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2.6 | Does the device import/export personally identifiable information with other systems (e.g., a wearable monitoring device might export personally identifiable information to a server)? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2.7 | Does the device maintain personally identifiable information when powered off, or during power service interruptions? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-2.8 | Does the device allow the internal media to be removed by a service technician (e.g., for separate destruction or customer retention)? | ______ | __
MPII-2.9 | Does the device allow personally identifiable information records be stored in a separate location from the device’s operating system (i.e. secondary internal drive, alternate drive partition, or remote storage location)? | ______ | [5 empty] | AR-2 | A.15.1.4
MPII-3 | Does the device have mechanisms used for the transmitting, importing/exporting of personally identifiable information? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.1 | Does the device display personally identifiable information (e.g., video display, etc.)? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.2 | Does the device generate hardcopy reports or images containing personally identifiable information? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.3 | Does the device retrieve personally identifiable information from or record personally identifiable information to removable media (e.g., removable-HDD, USB memory, DVD-R/RW,CD-R/RW, tape, CF/SD card, memory stick, etc.)? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.4 | Does the device transmit/receive or import/export personally identifiable information via dedicated cable connection (e.g., RS-232, RS-423, USB, FireWire, etc.)? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.5 | Does the device transmit/receive personally identifiable information via a wired network connection (e.g., RJ45, fiber optic, etc.)? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.6 | Does the device transmit/receive personally identifiable information via a wireless network connection (e.g., WiFi, Bluetooth, NFC, infrared, cellular, etc.)? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.7 | Does the device transmit/receive personally identifiable information over an external network (e.g., Internet)? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
MPII-3.8 | Does the device import personally identifiable information via scanning a document? | ______
MPII-3.9 | Does the device transmit/receive personally identifiable information via a proprietary protocol? | ______
MPII-3.10 | Does the device use any other mechanism to transmit, import or export personally identifiable information? | ______ | __ |  |  |  |  | AR-2 | A.15.1.4
Management of Private Data notes: | [7 empty] | AR-2 | A.15.1.4
| AUTOMATIC LOGOFF (ALOF) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The device's ability to prevent access and misuse by unauthorized users if device is left idle for a period of time.
ALOF-1 | Can the device be configured to force reauthorization of logged-in user(s) after a predetermined length of inactivity (e.g., auto-logoff, session lock, password protected screen saver)? | ______ | __ |  |  |  | Section 5.1, ALOF | AC-12 | None
ALOF-2 | Is the length of inactivity time before auto-logoff/screen lock user or administrator configurable? | ______ | __ |  |  |  | Section 5.1, ALOF | AC-11 | A.11.2.8, A.11.2.9
| AUDIT CONTROLS (AUDT) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability to reliably audit activity on the device.
AUDT-1 | Can the medical device create additional audit logs or reports beyond standard operating system logs? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-1 | A.5.1.1, A.5.1.2, A.6.1.1, A.12.1.1, A.18.1.1, A.18.2.2
AUDT-1.1 | Does the audit log record a USER ID? | ______ | __
AUDT-1.2 | Does other personally identifiable information exist in the audit trail? | [5 empty] | Section 5.2, AUDT | AU-2 | None
AUDT-2 | Are events recorded in an audit log? If yes, indicate which of the following events are recorded in the audit log: | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.1 | Successful login/logout attempts? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.2 | Unsuccessful login/logout attempts? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.3 | Modification of user privileges? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.4 | Creation/modification/deletion of users? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.5 | Presentation of clinical or PII data (e.g. display, print)? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.6 | Creation/modification/deletion of data? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.7 | Import/export of data from removable media (e.g. USB drive, external hard drive, DVD)? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.8 | Receipt/transmission of data or commands over a network or point-to-point connection? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.8.1 | Remote or on-site support? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.8.2 | Application Programming Interface (API) and similar activity? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.9 | Emergency access? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.10 | Other events (e.g., software updates)? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-2.11 | Is the audit capability documented in more detail? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-3 | Can the owner/operator define or select which events are recorded in the audit log? | [5 empty] | Section 5.2, AUDT | AU-2 | None
AUDT-4 | Is a list of data attributes that are captured in the audit log for an event available? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-4.1 | Does the audit log record date/time? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-4.1.1 | Can date and time be synchronized by Network Time Protocol (NTP) or equivalent time source? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-5 | Can audit log content be exported? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-5.1 | Via physical media? | ______ | __
AUDT-5.2 | Via IHE Audit Trail and Node Authentication (ATNA) profile to SIEM? | ______ | __
AUDT-5.3 | Via Other communications (e.g., external service device, mobile applications)? | ______ | __
AUDT-5.4 | Are audit logs encrypted in transit or on storage media? | ______ | __
AUDT-6 | Can audit logs be monitored/reviewed by owner/operator? | ______ | __
AUDT-7 | Are audit logs protected from modification? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
AUDT-7.1 | Are audit logs protected from access?
AUDT-8 | Can audit logs be analyzed by the device? | ______ | __ |  |  |  | Section 5.2, AUDT | AU-2 | None
| AUTHORIZATION (AUTH) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability of the device to determine the authorization of users.
AUTH-1 | Does the device prevent access to unauthorized users through user login requirements or other mechanism? | ______ | __ |  |  |  | Section 5.3, AUTH | IA-2 | A.9.2.1
AUTH-1.1 | Can the device be configured to use federated credentials management of users for authorization (e.g., LDAP, OAuth)? | ______ | __ |  |  |  | Section 5.3, AUTH | IA-2 | A.9.2.1
AUTH-1.2 | Can the customer push group policies to the device (e.g., Active Directory)? | ______ | __ |  |  |  | Section 5.3, AUTH | IA-2 | A.9.2.1
AUTH-1.3 | Are any special groups, organizational units, or group policies required? | ______ | __ |  |  |  | Section 5.3, AUTH | IA-2 | A.9.2.1
AUTH-2 | Can users be assigned different privilege levels based on 'role' (e.g., user, administrator, and/or service, etc.)? | ______ | __ |  |  |  | Section 5.3, AUTH | IA-2 | A.9.2.1
AUTH-3 | Can the device owner/operator grant themselves unrestricted administrative privileges (e.g., access operating system or application via local root or administrator account)? | ______ | __ |  |  |  | Section 5.3, AUTH | IA-2 | A.9.2.1
AUTH-4 | Does the device authorize or control all API access requests? | ______ | __ |  |  |  | Section 5.3, AUTH | IA-2 | A.9.2.1
AUTH-5 | Does the device run in a restricted access mode, or ‘kiosk mode’, by default? | ______ | __
| CYBER SECURITY PRODUCT UPGRADES (CSUP) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability of on-site service staff, remote service staff, or authorized customer staff to install/upgrade device's security patches.
CSUP-1 | Does the device contain any software or firmware which may require security updates during its operational life, either from the device manufacturer or from a third-party manufacturer of the software/firmware? If no, answer “N/A” to questions in this section. | ______ | __
CSUP-2 | Does the device contain an Operating System? If yes, complete 2.1-2.4. | ______ | __
CSUP-2.1 | Does the device documentation provide instructions for owner/operator installation of patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-2.2 | Does the device require vendor or vendor-authorized service to install patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-2.3 | Does the device have the capability to receive remote installation of patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-2.4 | Does the medical device manufacturer allow security updates from any third-party manufacturers (e.g., Microsoft) to be installed without approval from the manufacturer? | ______ | __ | Y/N | Y/N | Y/N
CSUP-3 | Does the device contain Drivers and Firmware? If yes, complete 3.1-3.4. | ______ | __ | Y/N | Y/N | Y/N
CSUP-3.1 | Does the device documentation provide instructions for owner/operator installation of patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-3.2 | Does the device require vendor or vendor-authorized service to install patches or software updates? | ______ | __
CSUP-3.3 | Does the device have the capability to receive remote installation of patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-3.4 | Does the medical device manufacturer allow security updates from any third-party manufacturers (e.g., Microsoft) to be installed without approval from the manufacturer? | ______ | __ | Y/N | Y/N | Y/N
CSUP-4 | Does the device contain Anti-Malware Software? If yes, complete 4.1-4.4. | ______ | __ | Y/N | Y/N | Y/N
CSUP-4.1 | Does the device documentation provide instructions for owner/operator installation of patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-4.2 | Does the device require vendor or vendor-authorized service to install patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-4.3 | Does the device have the capability to receive remote installation of patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-4.4 | Does the medical device manufacturer allow security updates from any third-party manufacturers (e.g., Microsoft) to be installed without approval from the manufacturer? | ______ | __
CSUP-5 | Does the device contain Non-Operating System commercial off-the-shelf components? If yes, complete 5.1-5.4. | ______ | __ | Y/N | Y/N | Y/N
CSUP-5.1 | Does the device documentation provide instructions for owner/operator installation of patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-5.2 | Does the device require vendor or vendor-authorized service to install patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-5.3 | Does the device have the capability to receive remote installation of patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-5.4 | Does the medical device manufacturer allow security updates from any third-party manufacturers (e.g., Microsoft) to be installed without approval from the manufacturer? | ______ | __ | Y/N | Y/N | Y/N
CSUP-6 | Does the device contain other software components (e.g., asset management software, license management)? If yes, please provide details or refernce in notes and complete 6.1-6.4. | ______ | __ | Y/N | Y/N | Y/N
CSUP-6.1 | Does the device documentation provide instructions for owner/operator installation of patches or software updates? | ______ | __
CSUP-6.2 | Does the device require vendor or vendor-authorized service to install patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-6.3 | Does the device have the capability to receive remote installation of patches or software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-6.4 | Does the medical device manufacturer allow security updates from any third-party manufacturers (e.g., Microsoft) to be installed without approval from the manufacturer? | ______ | __ | Y/N | Y/N | Y/N
CSUP-7 | Does the manufacturer notify the customer when updates are approved for installation? | ______ | __ | Y/N | Y/N | Y/N
CSUP-8 | Does the device perform automatic installation of software updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-9 | Does the manufacturer have an approved list of third-party software that can be installed on the device? | ______ | __ | Y/N | Y/N | Y/N
CSUP-10 | Can the owner/operator install manufacturer-approved third-party software on the device themselves? | ______ | __
CSUP-10.1 | Does the system have mechanism in place to prevent installation of unapproved software? | ______ | __
CSUP-11 | Does the manufacturer have a process in place to assess device vulnerabilities and updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-11.1 | Does the manufacturer provide customers with review and approval status of updates? | ______ | __ | Y/N | Y/N | Y/N
CSUP-11.2 | Is there an update review cycle for the device? | ______ | __ | Y/N | Y/N | Y/N
|  |  |  | Device Software | Device Firmware | Security Addons
| HEALTH DATA DE-IDENTIFICATION (DIDT) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability of the device to directly remove information that allows identification of a person.
DIDT-1 | Does the device provide an integral capability to de-identify personally identifiable information? | ______ | __ |  |  |  | Section 5.6, DIDT | None | ISO 27038
DIDT-1.1 | Does the device support de-identification profiles that comply with the DICOM standard for de-identification? | ______ | __ |  |  |  | Section 5.6, DIDT | None | ISO 27038
| DATA BACKUP AND DISASTER RECOVERY (DTBK) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability to recover after damage or destruction of device data, hardware, software, or site configuration information.
DTBK-1 | Does the device maintain long term primary storage of personally identifiable information / patient information (e.g. PACS)? | ______ | __
DTBK-2 | Does the device have a “factory reset” function to restore the original device settings as provided by the manufacturer? | ______ | __ |  |  |  | Section 5.7, DTBK | CP-9 | A.12.3.1
DTBK-3 | Does the device have an integral data backup capability to removable media? | ______ | __ |  |  |  | Section 5.7, DTBK | CP-9 | A.12.3.1
DTBK-4 | Does the device have an integral data backup capability to remote storage?
DTBK-5 | Does the device have a backup capability for system configuration information, patch restoration, and software restoration?
DTBK-6 | Does the device provide the capability to check the integrity and authenticity of a backup? | ______ | __ |  |  |  | Section 5.7, DTBK | CP-9 | A.12.3.1
| EMERGENCY ACCESS (EMRG) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability of the device user to access personally identifiable information in case of a medical emergency situation that requires immediate access to stored personally identifiable information.
EMRG-1 | Does the device incorporate an emergency access (i.e. “break-glass”) feature? | ______ | __ |  |  |  | Section 5.8, EMRG | SI-17 | None
| HEALTH DATA INTEGRITY AND AUTHENTICITY (IGAU) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
How the device ensures that the stored data on the device has not been altered or destroyed in a non-authorized manner and is from the originator.
IGAU-1 | Does the device provide data integrity checking mechanisms of stored health data (e.g., hash or digital signature)? | ______ | __ |  |  |  | Section 5.9, IGAU | SC-28 | A.18.1.3
IGAU-2 | Does the device provide error/failure protection and recovery mechanisms for stored health data (e.g., RAID-5)? | ______ | __ |  |  |  | Section 5.9, IGAU | SC-28 | A.18.1.3
| MALWARE DETECTION/PROTECTION (MLDP) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability of the device to effectively prevent, detect and remove malicious software (malware).
MLDP-1 | Is the device capable of hosting executable software? | ______ | __ |  |  |  | Section 5.10, MLDP
MLDP-2 | Does the device support the use of anti-malware software (or other anti-malware mechanism)? Provide details or reference in notes. | ______ | __ |  |  |  | Section 5.10, MLDP | SI-3 | A.12.2.1
MLDP-2.1 | Does the device include anti-malware software by default? | ______ | __ |  |  |  | Section 5.10, MLDP | CM-5 | A.9.2.3, A.9.4.5, A.12.1.2, A.12.1.4, A.12.5.1
MLDP-2.2 | Does the device have anti-malware software available as an option? | ______ | __ |  |  |  | Section 5.10, MLDP | AU-6 | A.12.4.1, A.16.1.2, A.16.1.4
MLDP-2.3 | Does the device documentation allow the owner/operator to install or update anti-malware software? | ______ | __ |  |  |  | Section 5.10, MLDP | CP-10 | A.17.1.2
MLDP-2.4 | Can the device owner/operator independently (re-)configure anti-malware settings? | ______ | __ |  |  |  | Section 5.10, MLDP | AU-2 | None
MLDP-2.5 | Does notification of malware detection occur in the device user interface? | ______
MLDP-2.6 | Can only manufacturer-authorized persons repair systems when malware has been detected? | ______
MLDP-2.7 | Are malware notifications written to a log? | ______
MLDP-2.8 | Are there any restrictions on anti-malware (e.g., purchase, installation, configuration, scheduling)? | ______
MLDP-3 | If the answer to MLDP-2 is NO, and anti-malware cannot be installed on the device, are other compensating controls in place or available? | ______ | __ |  |  |  | Section 5.10, MLDP | SI-2 | A.12.6.1, A.14.2.2, A.14.2.3, A.16.1.3
MLDP-4 | Does the device employ application whitelisting that restricts the software and services that are permitted to be run on the device? | ______ | __ |  |  |  | Section 5.10, MLDP | SI-3 | A.12.2.1
MLDP-5 | Does the device employ a host-based intrusion detection/prevention system? | ______ | __ |  |  |  | Section 5.10, MLDP | SI-4 | None
MLDP-5.1 | Can the host-based intrusion detection/prevention system be configured by the customer? | ______ | __ |  |  |  | Section 5.10, MLDP | CM-7 | A.12.5.1
MLDP-5.2 | Can a host-based intrusion detection/prevention system be installed by the customer? | ______ | __ |  |  |  | Section 5.10, MLDP
| NODE AUTHENTICATION (NAUT) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability of the device to authenticate communication partners/nodes.
NAUT-1 | Does the device provide/support any means of node authentication that assures both the sender and the recipient of data are known to each other and are authorized to receive transferred information (e.g. Web APIs, SMTP, SNMP)? | ______ | __ |  |  |  | Section 5.11, NAUT | SC-23 | None
NAUT-2 | Are network access control mechanisms supported (E.g., does the device have an internal firewall, or use a network connection white list)? | ______ | __ |  |  |  | Section 5.11, NAUT | SC-7 | A.13.1.1, A.13.1.3, A.13.2.1,A.14.1.3
NAUT-2.1 | Is the firewall ruleset documented and available for review? | ______ | __
NAUT-3 | Does the device use certificate-based network connection authentication? | ______ | __
| CONNECTIVITY CAPABILITIES (CONN) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
All network and removable media connections must be considered in determining appropriate security controls. This section lists connectivity capabilities that may be present on the device.
CONN-1 | Does the device have hardware connectivity capabilities? | ______ | __
CONN-1.1 | Does the device support wireless connections? | ______ | __
CONN-1.1.1 | Does the device support Wi-Fi? | ______ | __
CONN-1.1.2 | Does the device support Bluetooth? | ______ | __
CONN-1.1.3 | Does the device support other wireless network connectivity (e.g. LTE, Zigbee, proprietary)? | ______ | __
CONN-1.1.4 | Does the device support other wireless connections (e.g., custom RF controls, wireless detectors)? | ______ | __
CONN-1.2 | Does the device support physical connections? | ______ | __
CONN-1.2.1 | Does the device have available RJ45 Ethernet ports? | ______ | __
CONN-1.2.2 | Does the device have available USB ports? | ______ | __
CONN-1.2.3 | Does the device require, use, or support removable memory devices? | ______ | __
CONN-1.2.4 | Does the device support other physical connectivity? | ______ | __
CONN-2 | Does the manufacturer provide a list of network ports and protocols that are used or may be used on the device? | ______ | __
CONN-3 | Can the device communicate with other systems within the customer environment? | ______ | __
CONN-4 | Can the device communicate with other systems external to the customer environment (e.g., a service host)? | ______ | __
CONN-5 | Does the device make or receive API calls? | ______ | __
CONN-6 | Does the device require an internet connection for its intended use? | ______ | __
CONN-7 | Does the device support Transport Layer Security (TLS)? | ______ | __
CONN-7.1 | Is TLS configurable?
CONN-8 | Does the device provide operator control functionality from a separate device (e.g., telemedicine)? | ______ | __
| PERSON AUTHENTICATION (PAUT) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability to configure the device to authenticate users.
PAUT-1 | Does the device support and enforce unique IDs and passwords for all users and roles (including service accounts)? | ______ | __ |  |  |  | Section 5.12, PAUT | IA-2 | A.9.2.1
PAUT-1.1 | Does the device enforce authentication of unique IDs and passwords for all users and roles (including service accounts)? | ______ | __ |  |  |  | Section 5.12, PAUT | IA-2 | A.9.2.1
PAUT-2 | Is the device configurable to authenticate users through an external authentication service (e.g., MS Active Directory, NDS, LDAP, OAuth, etc.)? | ______ | __ |  |  |  | Section 5.12, PAUT | IA-5 | A.9.2.1
PAUT-3 | Is the device configurable to lock out a user after a certain number of unsuccessful logon attempts? | ______ | __ |  |  |  | Section 5.12, PAUT | IA-2 | A.9.2.1
PAUT-4 | Are all default accounts (e.g., technician service accounts, administrator accounts) listed in the documentation? | ______ | __ |  |  |  | Section 5.12, PAUT | SA-4(5) | A.14.1.1, A.14.2.7, A.14.2.9, A.15.1.2
PAUT-5 | Can all passwords be changed? | ______ | __ |  |  |  | Section 5.12, PAUT
PAUT-6 | Is the device configurable to enforce creation of user account passwords that meet established (organization specific) complexity rules? | ______ | __ |  |  |  | Section 5.12, PAUT | IA-2 | A.9.2.1
PAUT-7 | Does the device support account passwords that expire periodically? | ______ | __
PAUT-8 | Does the device support multi-factor authentication? | ______ | __
PAUT-9 | Does the device support single sign-on (SSO)? | ______ | __ |  |  |  | Section 5.12, PAUT | IA-2 | A.9.2.1
PAUT-10 | Can user accounts be disabled/locked on the device? | ______ | __ |  |  |  | Section 5.12, PAUT | IA-2 | A.9.2.1
PAUT-11 | Does the device support biometric controls? | ______ | __ |  |  |  | Section 5.12, PAUT | IA-2 | A.9.2.1
PAUT-12 | Does the device support physical tokens (e.g. badge access)? | ______ | __
PAUT-13 | Does the device support group authentication (e.g. hospital teams)? | ______ | __
PAUT-14 | Does the application or device store or manage authentication credentials? | ______ | __
PAUT-14.1 | Are credentials stored using a secure method? | ______ | __
| PHYSICAL LOCKS (PLOK) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
Physical locks can prevent unauthorized users with physical access to the device from compromising the integrity and confidentiality of personally identifiable information stored on the device or on removable media
PLOK-1 | Is the device software only? If yes, answer “N/A” to remaining questions in this section. | ______ | __ |  |  |  | Section 5.13, PLOK | PE- 3(4) | A.11.1.1, A.11.1.2, A.11.1.3
PLOK-2 | Are all device components maintaining personally identifiable information (other than removable media) physically secure (i.e., cannot remove without tools)? | ______ | __ |  |  |  | Section 5.13, PLOK | PE- 3(4) | A.11.1.1, A.11.1.2, A.11.1.3
PLOK-3 | Are all device components maintaining personally identifiable information (other than removable media) physically secured behind an individually keyed locking device? | ______ | __ |  |  |  | Section 5.13, PLOK | PE- 3(4) | A.11.1.1, A.11.1.2, A.11.1.3
PLOK-4 | Does the device have an option for the customer to attach a physical lock to restrict access to removable media? | ______ | __ |  |  |  | Section 5.13, PLOK | PE- 3(4) | A.11.1.1, A.11.1.2, A.11.1.3
| ROADMAP FOR THIRD PARTY COMPONENTS IN DEVICE LIFE CYCLE (RDMP) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
Manufacturer’s plans for security support of third-party components within the device’s life cycle.
RDMP-1 | Was a secure software development process, such as ISO/IEC 27034 or IEC 62304, followed during product development? | ______ | __ |  |  |  | Section 5.14, RDMP | CM-2 | None
RDMP-2 | Does the manufacturer evaluate third-party applications and software components included in the device for secure development practices? | ______ | __ |  |  |  | Section 5.14, RDMP | CM-8 | A.8.1.1, A.8.1.2
RDMP-3 | Does the manufacturer maintain a web page or other source of information on software support dates and updates? | ______ | __ |  |  |  | Section 5.14, RDMP | CM-8 | A.8.1.1, A.8.1.2
RDMP-4 | Does the manufacturer have a plan for managing third-party component end-of-life? | ______ | __ |  |  |  | Section 5.14, RDMP | CM-8 | A.8.1.1, A.8.1.2
| SOFTWARE BILL OF MATERIALS (SBoM) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
A Software Bill of Material (SBoM) lists all the software components that are incorporated into the device being described for the purpose of operational security planning by the healthcare delivery organization. This section supports controls in the RDMP section.
SBOM-1 | Is the SBoM for this product available? | ______ | __
SBOM-2 | Does the SBoM follow a standard or common method in describing software components? | ______ | __
SBOM-2.1 | Are the software components identified? | ______ | __
SBOM-2.2 | Are the developers/manufacturers of the software components identified? | ______ | __
SBOM-2.3 | Are the major version numbers of the software components identified? | ______ | __
SBOM-2.4 | Are any additional descriptive elements identified? | ______ | __
SBOM-3 | Does the device include a command or process method available to generate a list of software components installed on the device? | ______ | __
SBOM-4 | Is there an update process for the SBoM? | ______ | __
| SYSTEM AND APPLICATION HARDENING (SAHD) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
| The device's inherent resistance to cyber attacks and malware. | [6 empty] | CM-7 | A.12.5.1*
SAHD-1 | Is the device hardened in accordance with any industry standards? | ______ | __ |  |  |  | Section 5.15, SAHD | AC-17(2)/IA-3 | A.6.2.1, A.6.2.2, A.13.1.1, A.13.2.1, A.14.1.2/None
SAHD-2 | Has the device received any cybersecurity certifications? | ______ | __ |  |  |  | Section 5.15, SAHD | SA-12(10) | A.14.2.7, A.15.1.1, A.15.1.2, A.15.1.3
SAHD-3 | Does the device employ any mechanisms for software integrity checking | ______ | __
SAHD-3.1 | Does the device employ any mechanism (e.g., release-specific hash key, checksums, digital signature, etc.) to ensure the installed software is manufacturer-authorized? | ______ | __
SAHD-3.2 | Does the device employ any mechanism (e.g., release-specific hash key, checksums, digital signature, etc.) to ensure the software updates are the manufacturer-authorized updates? | ______ | __ |  |  |  | Section 5.15, SAHD | CM-8 | A.8.1.1, A.8.1.2
SAHD-4 | Can the owner/operator perform software integrity checks (i.e., verify that the system has not been modified or tampered with)? | ______ | __ |  |  |  | Section 5.15, SAHD | AC-3 | A.6.2.2, A.9.1.2, A.9.4.1, A.9.4.4, A.9.4.5, A.13.1.1, A.14.1.2, A.14.1.3, A.18.1.3
SAHD-5 | Is the system configurable to allow the implementation of file-level, patient level, or other types of access controls? | ______ | __ |  |  |  | Section 5.15, SAHD | CM-7 | A.12.5.1*
SAHD-5.1 | Does the device provide role-based access controls? | ______ | __ |  |  |  | Section 5.15, SAHD | CM-7 | A.12.5.1*
SAHD-6 | Are any system or user accounts restricted or disabled by the manufacturer at system delivery? | ______ | __ |  |  |  | Section 5.15, SAHD | CM-8 | A.8.1.1, A.8.1.2
SAHD-6.1 | Are any system or user accounts configurable by the end user after initial configuration? | ______ | __ |  |  |  | Section 5.15, SAHD | CM-7 | A.12.5.1*
SAHD-6.2 | Does this include restricting certain system or user accounts, such as service technicians, to least privileged access? | ______ | __ |  |  |  | Section 5.15, SAHD | CM-7 | A.12.5.1*
SAHD-7 | Are all shared resources (e.g., file shares) which are not required for the intended use of the device disabled? | ______ | __ |  |  |  | Section 5.15, SAHD | CM-7 | A.12.5.1*
SAHD-8 | Are all communication ports and protocols that are not required for the intended use of the device disabled? | ______ | __ |  |  |  | Section 5.15, SAHD | SA-18 | None
SAHD-9 | Are all services (e.g., telnet, file transfer protocol [FTP], internet information server [IIS], etc.), which are not required for the intended use of the device deleted/disabled? | ______ | __ |  |  |  | Section 5.15, SAHD | CM-6 | None
SAHD-10 | Are all applications (COTS applications as well as OS-included applications, e.g., MS Internet Explorer, etc.) which are not required for the intended use of the device deleted/disabled? | ______ | __ |  |  |  | Section 5.15, SAHD | SI-2 | A.12.6.1, A.14.2.2, A.14.2.3, A.16.1.3
SAHD-11 | Can the device prohibit boot from uncontrolled or removable media (i.e., a source other than an internal drive or memory component)? | ______ | __
SAHD-12 | Can unauthorized software or hardware be installed on the device without the use of physical tools? | ______ | __
SAHD-13 | Does the product documentation include information on operational network security scanning by users? | ______ | __
SAHD-14 | Can the device be hardened beyond the default provided state? | ______ | __
SAHD-14.1 | Are instructions available from vendor for increased hardening?
SHAD-15 | Can the system prevent access to BIOS or other bootloaders during boot?
SAHD-16 | Have additional hardening methods not included in 2.3.19 been used to harden the device? | ______ | __
| SECURITY GUIDANCE (SGUD) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
Availability of security guidance for operator and administrator of the device and manufacturer sales and service.
SGUD-1 | Does the device include security documentation for the owner/operator? | ______ | __ |  |  |  | Section 5.16, SGUD | AT-2/PL-2 | A.7.2.2, A.12.2.1/A.14.1.1
SGUD-2 | Does the device have the capability, and provide instructions, for the permanent deletion of data from the device or media? | ______ | __ |  |  |  | Section 5.16, SGUD | MP-6 | A.8.2.3, A.8.3.1, A.8.3.2, A.11.2.7
SGUD-3 | Are all access accounts documented? | ______ | __ |  |  |  | Section 5.16, SGUD | AC-6,IA-2 | A.9.1.2, A.9.2.3, A.9.4.4, A.9.4.5/A.9.2.1
SGUD-3.1 | Can the owner/operator manage password control for all accounts? | ______ | __
SGUD-4 | Does the product include documentation on recommended compensating controls for the device? | ______ | __
| HEALTH DATA STORAGE CONFIDENTIALITY (STCF) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability of the device to ensure unauthorized access does not compromise the integrity and confidentiality of personally identifiable information stored on the device or removable media.
STCF-1 | Can the device encrypt data at rest? | ______ | __ |  |  |  | Section 5.17, STCF | SC-28 | A.8.2.3
STCF-1.1 | Is all data encrypted or otherwise protected?
STCF-1.2 | Is the data encryption capability configured by default?
STCF-1.3 | Are instructions available to the customer to configure encryption?
STCF-2 | Can the encryption keys be changed or configured? | ______ | __ |  |  |  | Section 5.17, STCF | SC-28 | A.8.2.3
STCF-3 | Is the data stored in a database located on the device? | ______ | __
STCF-4 | Is the data stored in a database external to the device? | ______ | __
| TRANSMISSION CONFIDENTIALITY (TXCF) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability of the device to ensure the confidentiality of transmitted personally identifiable information.
TXCF-1 | Can personally identifiable information be transmitted only via a point-to-point dedicated cable? | ______ | __ |  |  |  | Section 5.18, TXCF | CM-7 | A.12.5.1
TXCF-2 | Is personally identifiable information encrypted prior to transmission via a network or removable media? | ______ | __ |  |  |  | Section 5.18, TXCF | CM-7 | A.12.5.1
TXCF-2.1 | If data is not encrypted by default, can the customer configure encryption options? | ______ | __
TXCF-3 | Is personally identifiable information transmission restricted to a fixed list of network destinations? | ______ | __ |  |  |  | Section 5.18, TXCF | CM-7 | A.12.5.1
TXCF-4 | Are connections limited to authenticated systems? | ______ | __ |  |  |  | Section 5.18, TXCF | CM-7 | A.12.5.1
TXCF-5 | Are secure transmission methods supported/implemented (DICOM, HL7, IEEE 11073)? | ______ | __
| TRANSMISSION INTEGRITY (TXIG) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
The ability of the device to ensure the integrity of transmitted data.
TXIG-1 | Does the device support any mechanism (e.g., digital signatures) intended to ensure data is not modified during transmission? | ______ | __ |  |  |  | Section 5.19, TXIG | SC-8 | A.8.2.3, A.13.1.1, A.13.2.1, A.13.2.3, A.14.1.2, A.14.1.3
TXIG-2 | Does the device include multiple sub-components connected by external cables? | ______ | __
| REMOTE SERVICE (RMOT) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
Remote service refers to all kinds of device maintenance activities performed by a service person via network or other remote connection.
RMOT-1 | Does the device permit remote service connections for device analysis or repair? | ______ | __ |  |  |  |  | AC-17 | A.6.2.1, A.6.2.2, A.13.1.1, A.13.2.1, A.14.1.2
RMOT-1.1 | Does the device allow the owner/operator to initiative remote service sessions for device analysis or repair? | ______ | __
RMOT-1.2 | Is there an indicator for an enabled and active remote session? | ______ | __
RMOT-1.3 | Can patient data be accessed or viewed from the device during the remote session? | ______ | __ |  |  |  |  | AC-17 | A.6.2.1, A.6.2.2, A.13.1.1, A.13.2.1, A.14.1.2
RMOT-2 | Does the device permit or use remote service connections for predictive maintenance data? | ______ | __
RMOT-3 | Does the device have any other remotely accessible functionality (e.g. software updates, remote training)? | ______ | __
| OTHER SECURITY CONSIDERATIONS (OTHR) | [5 empty] | IEC TR 80001-2-2:2012 | NIST SP 800-53 Rev. 4 | ISO 27002:2013
NONE
Notes:
Note 1 | Example note. Please keep individual notes to one cell. Please use separate notes for separate information